| SRs and REs |  | SL 1 | SL 2 | SL 3 | SL 4 |
| --- | --- | --- | --- | --- | --- |
| SR 1.7 RE 2 – Password lifetime restrictions for all users | 5.9.3.2 |  |  |  |  |
| SR 1.8 – Public key infrastructure certificates | 5.10 |  |  |  |  |
| SR 1.9 – Strength of public key authentication | 5.11 |  |  |  |  |
| SR 1.9 RE 1 – Hardware security for public key authentication | 5.11.3.1 |  |  |  |  |
| SR 1.10 – Authenticator feedback | 5.12 |  |  |  |  |
| SR 1.11 – Unsuccessful login attempts | 5.13 |  |  |  |  |
| SR 1.12 – System use notification | 5.14 |  |  |  |  |
| SR 1.13 – Access via untrusted networks | 5.15 |  |  |  |  |
| SR 1.13 RE 1 – Explicit access request approval | 5.15.3.1 |  |  |  |  |
| FR 2 – Use control (UC) |  |  |  |  |  |
| SR 2.1 – Authorization enforcement | 6.3 |  |  |  |  |
| SR 2.1 RE 1 – Authorization enforcement for all users | 6.3.3.1 |  |  |  |  |
| SR 2.1 RE 2 – Permission mapping to roles | 6.3.3.2 |  |  |  |  |
| SR 2.1 RE 3 – Supervisor override | 6.3.3.3 |  |  |  |  |
| SR 2.1 RE 4 – Dual approval | 6.3.3.4 |  |  |  |  |
| SR 2.2 – Wireless use control | 6.4 |  |  |  |  |
| SR 2.2 RE 1 – Identify and report unauthorized wireless devices | 6.4.3.1 |  |  |  |  |
| SR 2.3 – Use control for portable and mobile devices | 6.5 |  |  |  |  |
| SR 2.3 RE 1 – Enforcement of security status of portable and mobile devices | 6.5.3.1 |  |  |  |  |
| SR 2.4 – Mobile code | 6.6 |  |  |  |  |
| SR 2.4 RE 1 – Mobile code integrity check | 6.6.3.1 |  |  |  |  |
| SR 2.5 – Session lock | 6.7 |  |  |  |  |
| SR 2.6 – Remote session termination | 6.8 |  |  |  |  |
| SR 2.7 – Concurrent session control | 6.9 |  |  |  |  |
| SR 2.8 – Auditable events | 6.10 |  |  |  |  |
| SR 2.8 RE 1 – Centrally managed, system-wide audit trail | 6.10.3.1 |  |  |  |  |
| SR 2.9 – Audit storage capacity | 6.11 |  |  |  |  |
| SR 2.9 RE 1 – Warn when audit record storage capacity threshold reached | 6.11.3.1 |  |  |  |  |
| SR 2.10 – Response to audit processing failures | 6.12 |  |  |  |  |
| SR 2.11 – Timestamps | 6.13 |  |  |  |  |
| SR 2.11 RE 1 – Internal time synchronization | 6.13.3.1 |  |  |  |  |
| SR 2.11 RE 2 – Protection of time source integrity | 6.13.3.2 |  |  |  |  |
| SR 2.12 – Non-repudiation | 6.14 |  |  |  |  |
| SR 2.12 RE 1 – Non-repudiation for all users | 6.14.3.1 |  |  |  |  |